MATTOLE ELEMENTARY SCHOOL Consumer Confidence Report

PSID: 1200684 | PETROLIA, HUMBOLDT CO.

For the period from 2017-01-01 to 2019-10-10.

**View an interactive version of this report online at**: caccr.github.io/ccrs/1200684.html

## What does this report mean?

This report contains important information about drinking water quality in your water system.

Este informe contiene información muy importante sobre su agua para beber. Favor de comunicarse MATTOLE ELEMENTARY SCHOOL a [707-629-3311](#contact-link) para asistirlo en español.

这份报告含有关于您的饮用水的重要讯息。请用以下地址和电话联系 MATTOLE ELEMENTARY SCHOOL 以获得中文的帮助: [707-629-3311](#contact-link).

## Status: **IN COMPLIANCE**

## Explore data

Explore your water quality data in the table below.

| CHEMICAL | SAMPLE\_MEAN | MCL | UNIT | XMOD |
| --- | --- | --- | --- | --- |
| 1,2,3-TRICHLOROPROPANE | 0.000 | 0.005 | UG/L | < |
| NITRATE (AS N) | 0.000 | 10.000 | MG/L | V |

## About

**MATTOLE ELEMENTARY SCHOOL**, located in **PETROLIA (HUMBOLDT CO.)**:

* services **1** connections to serve a total population of **100** individuals.
* has a primary water source type of **Groundwater**.

### Contact

MATTOLE ELEMENTARY SCHOOL  
PO Box 211 PETROLIA, CA 95558  
707-629-3311

Health Agency: DISTRICT 01 - KLAMATH  
364 Knollcrest Dr. Suite 101 REDDING, CA 96002  
530-224-4800

### Disclaimer

This Consumer Confidence Report was automatically generated, and hence, the data herein may be incomplete or inaccurate. The authors claim no liability or responsibility for data quality, and this data product falls under the [MIT License](https://github.com/caccr/cawdc_2019/LICENSE). This data represents the average result of all post-treatment samples from the period from 2019-01-01 to 2019-10-10.

**For questions about your local water quality, contact your water system.**

### FAQ

To view frequently asked questions, visit the FAQ online: [caccr.github.io/faq/](https://caccr.github.io/faq/)