STARLITE PINES MUTUAL WATER CO INC Consumer Confidence Report

PSID: 4500195 | SHINGLETOWN, SHASTA CO.

For the period from 2017-01-01 to 2019-10-10.

**View an interactive version of this report online at**: caccr.github.io/ccrs/4500195.html

## What does this report mean?

This report contains important information about drinking water quality in your water system.

Este informe contiene información muy importante sobre su agua para beber. Favor de comunicarse STARLITE PINES MUTUAL WATER CO INC a [530-474-9355](#contact-link) para asistirlo en español.

这份报告含有关于您的饮用水的重要讯息。请用以下地址和电话联系 STARLITE PINES MUTUAL WATER CO INC 以获得中文的帮助: [530-474-9355](#contact-link).

## Status: **IN COMPLIANCE**

**4** water quality indicators were tested for and may have been detected, though they pose no serious human health hazard (MCL = 0). They are reported in the table below.

## Explore data

Explore your water quality data in the table below.

| CHEMICAL | SAMPLE\_MEAN | MCL | UNIT | XMOD |
| --- | --- | --- | --- | --- |
| 1,2,3-TRICHLOROPROPANE | 0.000 | 0.005 | UG/L | < |
| NITRATE (AS N) | 0.000 | 10.000 | MG/L | < |
| NITRITE (AS N) | 0.000 | 1.000 | MG/L | < |
| PERCHLORATE | 4.000 | 6.000 | UG/L | < |

## About

**STARLITE PINES MUTUAL WATER CO INC**, located in **SHINGLETOWN (SHASTA CO.)**:

* services **165** connections to serve a total population of **510** individuals.
* has a primary water source type of **Groundwater**.

### Contact

STARLITE PINES MUTUAL WATER CO INC  
8074 Starlite Pines Road SHINGLETOWN, CA 96088  
530-474-9355

Health Agency: LPA75 - SHASTA COUNTY  
1855 Placer St., Ste. 201 REDDING, CA 96001  
530-225-5787

### Disclaimer

This Consumer Confidence Report was automatically generated, and hence, the data herein may be incomplete or inaccurate. The authors claim no liability or responsibility for data quality, and this data product falls under the [MIT License](https://github.com/caccr/cawdc_2019/LICENSE). This data represents the average result of all post-treatment samples from the period from 2019-01-01 to 2019-10-10.

**For questions about your local water quality, contact your water system.**

### FAQ

To view frequently asked questions, visit the FAQ online: [caccr.github.io/faq/](https://caccr.github.io/faq/)