ACCELERATED CHARTER HIGH SCHOOL Consumer Confidence Report

PSID: 5400538 | TULARE, TULARE CO.

For the period from 2017-01-01 to 2019-10-10.

**View an interactive version of this report online at**: caccr.github.io/ccrs/5400538.html

## What does this report mean?

This report contains important information about drinking water quality in your water system.


Este informe contiene información muy importante sobre su agua para beber. Favor de comunicarse ACCELERATED CHARTER HIGH SCHOOL a [559-688-2021 EXT. 242](#contact-link) para asistirlo en español.

这份报告含有关于您的饮用水的重要讯息。请用以下地址和电话联系 ACCELERATED CHARTER HIGH SCHOOL 以获得中文的帮助: [559-688-2021 EXT. 242](#contact-link).

## Status: **IN COMPLIANCE**

Of the **11** chemicals tested for in your water system, **5** **chemicals were detected**, and **1** **average chemical findings exceeded their MCL, though exceedance alone does not constitute a violation (see the FAQ for more information)**.

In the plot below, the Maximum Contaminant Level (MCL) is shown as a black horizontal dashed line. Each vertical bar is a contaminant that was detected. The higher the bar, the higher the average level of that contaminant over the period of record. Any contaminant at or above the black horizontal dashed line indicates contaminated water.



**6** other chemicals were tested for and NOT detected. They are not included in the chart above, but are reported in the table below.

**23** water quality indicators were tested for and may have been detected, though they pose no serious human health hazard (MCL = 0). They are reported in the table below.

## Explore data

Explore your water quality data in the table below.

| CHEMICAL | SAMPLE\_MEAN | MCL | UNIT | XMOD |
| --- | --- | --- | --- | --- |
| 1,2,3-TRICHLOROPROPANE | 0.000 | 0.005 | UG/L | < |
| 1,2,3-TRICHLOROPROPANE | 0.010 | 0.005 | UG/L | V |
| COMBINED RA 226 + RA 228 | 1.000 | 5.000 | PCI/L | < |
| COMBINED RA 226 + RA 228 | 1.220 | 5.000 | PCI/L | V |
| DIBROMOCHLOROPROPANE (DBCP) | 0.000 | 0.200 | UG/L | V |
| ETHYLENE DIBROMIDE (EDB) | 0.000 | 0.050 | UG/L | V |
| GROSS ALPHA | 6.000 | 15.000 | PCI/L | V |
| HALOACETIC ACIDS (5) (HAA5) | 0.000 | 60.000 | UG/L | V |
| NITRATE (AS N) | 2.170 | 10.000 | MG/L | V |
| RA-226 FOR CWS OR TOTAL RA FOR NTNC BY 903.0 | 0.190 | 5.000 | PCI/L | V |
| TOTAL TRIHALOMETHANES | 0.000 | 80.000 | UG/L | < |

## About

**ACCELERATED CHARTER HIGH SCHOOL**, located in **TULARE (TULARE CO.)**:

* services **10** connections to serve a total population of **170** individuals.
* has a primary water source type of **Groundwater**.

### Contact

ACCELERATED CHARTER HIGH SCHOOL  
426 NORTH BLACKSTONE TULARE, CA 93274  
559-688-2021 EXT. 242

Health Agency: DISTRICT 24 - TULARE  
265 W. BULLARD AVE., SUITE 101 FRESNO, CA 93704  
559-447-3300  
dwpdist24@waterboards.ca.gov

### Disclaimer

This Consumer Confidence Report was automatically generated, and hence, the data herein may be incomplete or inaccurate. The authors claim no liability or responsibility for data quality, and this data product falls under the [MIT License](https://github.com/caccr/cawdc_2019/LICENSE). This data represents the average result of all post-treatment samples from the period from 2019-01-01 to 2019-10-10.

**For questions about your local water quality, contact your water system.**

### FAQ

To view frequently asked questions, visit the FAQ online: [caccr.github.io/faq/](https://caccr.github.io/faq/)